## Slide 1
Course No- BME 205
Bangladesh University of Engineering and Technology
Department of Biomedical Engineering
Presented By:
MECHANICAL VENTILATOR
Group – 4
1718016
1718017
1718018
1718019
1718020

## Slide 2
MECHANICAL VENTILATOR
Overview:
1.Definition
2.Physiology
3.Usage
4.Components
5.Mechanism
6.Applications of fluid mechanics
6.Problems and Solution
7.Q&A
What is a ventilator

## Slide 3
What is a ventilator
Machine that helps people breathe when they can't breathe on their own
Helps to move oxygen into the lung and CO2 out of the lung by using a pressure.

## Slide 5
O2

## Slide 7
CO2

## Slide 8
LUNG PHYSIOLOGY

## Slide 9
LUNG PHYSIOLOGY

## Slide 10
Lung

## Slide 12
Right Lung (3 lobes)
Left Lung (2 lobes)

## Slide 13
Oxygenated Blood
Dexygenated Blood
The respiratory system is fed by
two separate blood circulation:
1.The Pulmonary Circulation(Lower P)
which supply blood flow to the alveoli
foe gas exchange.
2. The bronchial Circulation(Higher P)
which supply blood flow to the bronch
eal system
Pulmonary Blood Flow

## Slide 14
Alveolus
Pulmonary Artery
Pulmonary Vein
Capillaries

## Slide 15
Alveolus
Blood Vessel
Blood Vessel
Dexygenated Blood
Oxygenated Blood

## Slide 16
CO2
O2
Dexygenated Blood
Oxygenated Blood

## Slide 17
CO2
O2
Dexygenated Blood
Oxygenated Blood

## Slide 18
CO2
O2
Dexygenated Blood
Oxygenated Blood

## Slide 19
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Tidal
Volume
(500 mL)
Dead
Space
Tidal Volume – The amount of air entering and
leaving the lungs during normal breathing

## Slide 20
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Inspiratory
Reserve
Volume
(3000 mL)
Dead
Space
Inspiratory Reserve Volume –Extra volume of air that the patient
Can inhale with maximum effort.

## Slide 21
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Expiratory
Reserve
Volume
(1500 mL)
Dead
Space
Expiratory Reserve Volume –Extra volume of air that the patient
Can exhale with maximum effort.

## Slide 22
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Residual
Volume
(1800 mL)
Dead
Space
Residual Volume – Remained air volume in the lings after expiraion

## Slide 23
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Total Lung Capacity (TLC) –
Summation of all volumes

## Slide 24
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Inspiratory Capacity (IC) – IRV+TV

## Slide 25
1000 ml
2000 ml
3000 ml
4000 ml
5000 ml
6000 ml
EXPIRATION - LUNG VOLUME - INSPIRATION
Vital Capacity (VC) – IRV+TV+ERV
What is a ventilator

## Slide 26
During Surgery
surgery with general anesthesia
The medicines used for anesthesia can affect normal breathing
ventilator helps control for breathing.
Recovering from surgery
Helps to breathe for hours or even days after surgery
Diseases
Brain injury
Lung infection
Pneumonia
Asthma
Stroke
Coma or loss ofconsciousness
Collapsed lung
In babies
Premature lung development
Usage of ventilator

## Slide 27
When a virus enters
and the body’s
immune system
does not fight off
the infection
Travel to the lungs
and cause a
potentially fatal
condition called
acute respiratory
distress
syndrome (ARDS)
Alveolar collapse
Less oxygen
enters into blood
Fluid enters
into alveolar sac
Ventilator helps to
maintain this
imbalance
Covid19 and ventilators
Working Principle
Gas supply(O2 and air)
1.
Expiratory Valve
Breathing Circuit
Airway
Inspiratory Valve
Humidifier
2.
3.
4.
5.
6.
Components of Ventilator

## Slide 28
Components of Ventilator
Gas supply(O2 and air)
1.
Expiratory Valve
Breathing Circuit
Airway
Inspiratory Valve
Humidifier
2.
3.
4.
5.
6.
Fig: Basic diagram of ventilator

## Slide 29
Fig: Ideal(for hospital) ventilator
Ventilation Process
2
3
4
5
Air and O2 move to humidifier
Circuit creates a positive pressure(pressure gradient)
Then go to Lung by trachea(windpipe)
Lung expand and amount of O2 controlled
by monitor
6
Inspiratory valve closes and expiratory valve
opens
7
Circuit pressure drops than lung pressure
8
Lung shrinks and exhale occurs
1
Inspiratory valve opens and expiratory valve closes

## Slide 30
Lung diseases Fluid enters into alveoli Resistance increase Flow rate decrease
Knowledge of fluid mechanics in understanding this device
Poiseuille’s Law:
The flow of a fluid depands on pressure gradient and resistance.
(Flow rate)=

## Slide 31
A1
v1
A2
v2 = ?
Equation of continuity
A1v1 = A2v2
Knowledge of Fluid Mechanics Used in Mechanical Ventilator
P1
P2 = ?
Bernoulli’s Equation

## Slide 32
1
Ventilator induced lung injury
Risks of being on ventilation for too long

## Slide 33
1
2
Muscle weakness
Ventilator induced lung injury
Risks of being on ventilation for too long

## Slide 34
1
2
Muscle weakness
Ventilator induced lung injury
3
Vocal chord damage
Risks of being on ventilation for too long

## Slide 35
1
Endotracheal tube
2
AI based ventilator
3
Avoiding noise pollution
Silicone made tube
Soft, bendable
Age specific tube diameter
Future Features

## Slide 36
Any Question?